## Slide 1: Modular Heater Instrument
Sean Kim
2025 Summer
UMD Sensors Actuators Lab

## Slide 2: Overview
Introduction
Proposed solution
Results from the prototype
Future works
Reflection

## Slide 3: Introduction
Goal: using photonic sensors for gas sensing
Photonic sensors & temperature:
Material refractive index and resonance wavelengths shift with temperature
Causes optical drift
Gas sensing performance & temperature:
Affects baseline stability, sensitivity, and selectivity
Leads to inaccurate or unreliable measurements without calibration
Issue at hand: No test setup/tool to evaluate sensor behavior at varying temperatures

## Slide 4: Goals
Heating System:
Enable homogeneous gas and sensor heating with controllable temperature
Power simultaneously from single power source
Improve components and electronics of Rafa’s system
Flow Control:
Create a system to easily control multiple gas flow rates using MFCs
Allow safety checks for flow-rate controllers
LabVIEW Interface:
Indicate temperature & pressure changes
Develop easy-to-use interface

## Slide 5
Experimental Design
Desired Constraints:
  Max flow rate of 5L/min
  Gases: CO2, O2, N2
  Temp of gas:
    Max: 50 C
    Min: 25 C
    Increments of 5

## Slide 6: Proposed solution
Three Part Solution:
  Create UI system for MFC
  Prototype modular heater
  Design long-term PCB heater

## Slide 7: 1. LabVIEW MFC UI

## Slide 8: 2. Prototype Modular Heater

## Slide 9: 3. Long-term Modular Heater
KiCad

## Slide 10: Heating Curve

## Slide 11: Future works
Heater Control Improvements
  Add rotary encoder to switch between two heater setpoints
  Consolidate power lines  single input voltage
  Optimize PID algorithm
Sensor Enclosure Component
  Insulated chamber to contain heat (only inlets)
  Easy-to-open lid for setup

## Slide 12
Challenges
Independent learning
Integrating hardware and software
Prototyping with limited resources
Documenting design procedure

## Slide 13: Skills Learned
Programming & Control:
  Data-flow programming (LabVIEW)
  PID control
Hardware Desing & Prototyping:
  Circuit & PCB design
  Component sourcing
  Breadboarding & soldering
Optimization & Documentation
  Power optimization
  Product documentation

## Slide 14: Acknowledgements
Dr. Miao Yu
Bibek
Rafa

## Slide 15: Thank You